## Feuil1
3	0.0229007634	132	159.5625
20	0.1526717557	1026	1063.75
40	0.3053435115	2083	2127.5					-249.856
80	0.6106870229	4255	4255					503.5094778255
100	0.7633587786	5575	5318.75					53.0681818182
131	1	7104	6967.5625					34.8571428571
								296.4804469274

## Feuil2
1.1	0.3793103448	2430	2350
2	0.6896551724	4700	4700
2.9	1	6510	7050

## Feuil3
100	0.01	139
50	0.02	295
20	0.05	765
10	0.1	1550
5	0.2	3121
2	0.5	7837

100	0.01	6118
200	0.005	3221
400	0.0025	1478
500	0.002	1172
1000	0.001	553

## Feuil5
January 24, 2012
	Compton edge 137Cs:		0.48	MeV	0.432	MeV
	G factor:	45.3
	Offset (Gain 2000):	-9.3
	Offset (Gain 50):	-20				Note:	We measure the peak position
					To correct and get the Compton valure
			Measuring time: 60 s for single photoelectron peak				we correct by 0.9 = 0,432
				120 s for Compton edge (unless indicated)
					Note 2:	The peak area is not very well defined
					Nb of e_phot/MeV:				> Nb of counts in column H might even be meaningless!
		No source:			Using Compton	Using 90% of
		Single e_phot	137Cs source:		edge:	pos. Of peak:
	Det.	Peak position	Peak position	Compton edge	Nphe	Nphe	Nb of counts
	0	498	1761	2224	417.46	368.14
	1	688	2586	3174	432.29	391.89
	2	524	2046	2580	460.11	406.23
	3	642	2878	3407	496.58	466.59
	4	493	2711	3303	624.34	570.13
	5	473	2136	2702	532.63	468.76
	6	701	3445	3953	527.88	511.54
	7	445	2759	3096	647.31	641.45
	8	594	2647	2114	333.82	463.56
	9	557	2756	3235	542.45	514.03	40000
	10	379	2052	2524	618.31	559.55	106000
	11	395	2248	2783	654.30	588.24	50000
	12	609	2658	3110	477.75	454.18	29000
	13	428	2113	2663	579.03	511.48	82000
	14	615	2589	2982	453.81	438.22	103000
	15	648	2827	3384	488.75	454.19	75000
	16	454	1859	2436	500.29	425.28	440200
	17	517	2838	3287	593.00	569.43	49000
	18	334	1721	2174	603.14	531.79	346000
	19	397	2144	2737	640.39	558.50	184000
	20	485	2159	2671	513.78	462.25	164000
	21	420	2260	2871	635.54	556.91	151000
	22	349	1982	2516	667.97	585.91	251000
	23	601	2136	2848	443.50	370.44	202000
	24	747	2729	3319	416.66	381.15	294000
	25	683	2889	3577	490.35	440.62	30000
	26	665	2866	3476	489.30	448.80	38200
	27	500	1995	2532	472.89	414.87	52800
	28	446	2210	2840	592.82	513.60	60160
	29	449	2321	2846	590.18	535.63	35300
	30	591	2522	2981	471.80	444.04	22850
	31	509	2687	3089	566.10	547.67	43500
	32	601	2622	3105	483.24	453.95	41900
	33	928	784	1152	118.01	89.95	77150
	34	536	2618	3066	534.09	507.29	734000
	35	512	2166	2704	493.15	439.72	42700
	36	449	2581	3074	637.13	595.12	69150
	37	494	1810	2378	449.65	381.28	44500
	38	605	2499	3014	466.11	429.99	122400
	39	487	2678	3131	599.19	570.05	65600
	40	411	2760	3196	722.13	693.59	96700
	41	418	1830	2330	519.03	454.00	49000
	42	518	2754	3229	581.50	551.65	55100
	43	534	2877	3303	577.23	559.14	175400
	44	945	763	1104	111.16	86.04	30600
Pentagon	45	662	1535	1900	269.92	242.90	82100
	46	641	1200	1553	228.28	196.73	157500
	47	806	1502	1934	226.19	195.75	80000
	48	483	853	1134	221.22	185.95	40000
	49	593	1308	1703	269.98	231.21	145000

Nphe / Detector number / Nb of photoectron per MeV